

**RISK ASSESSMENT FINDINGS**

|  |  |
| --- | --- |
| **Department/Service** |  |
| **Date** |  |
| **Assessor** |  |
| **Approved By** |  |
| **Review Date** |  |

**Relevant Legislation:**

The Management of Health and Safety at Work Regulations 1999

**RISK ASSESSMENT RECORD**

**ACTIVITY and/or ENVIRONMENT TO BE ASSESSED: Fire Alarm temporarily out of use**

**DATE:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **KEY (People at risk)** | **Likelihood (L)** | **Severity (S)** | **Risk Calculation** | **Risk Rating** |
| E = Employee YP = Young Persons  P = Public  C = Contractors  V = Visitors  EM = Expectant Mothers | 1. Very Low (rare/very unlikely)  2. Low (unlikely)  3. Medium (could occur/possible)  4. High (likely to occur/probable)  5. Very High (near certain to occur) | 1. Insignificant (nuisance/discomfort)  2. Minor (no lost time)  3. Moderate (time loss)  4. Significant (serious/incapacity to work)  5. Major (Death) | Likelihood x Severity  =  Rating | **1- 6** **LOW RISK** Monitor   * 1. **MEDIUM RISK** Monitor, review & reduce risk where possible   **14-25** **HIGH RISK** Further Action Required |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **1.Hazards Identified and potential harm it could cause** | **2. People**  **At Risk** | **3.Controls in Place** | **4.Risk Rating** | | | | **5. Further Action Required/ Recommendations** | **6.Target Date for Completion** |
| **L** | **S** | **Score** | **Risk** |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fire alarm temporarily out of commission e.g. requires part, repair, attention etc.  No audible means of raising the alarm. |  | * Building Manager and health and Safety section must be notified immediately. * Consult Building Manager as to availability of audible portable devices e.g. bells, claxons etc. and the best places to site them and to review fire risk assessment for building. * Portable devices should be placed strategically around the building to raise the alarm. * Staff/pupil /visitors must be informed via staff meeting/ assembly etc. of the temporary fire alarm arrangements. * A full fire drill must be undertaken to test the arrangements are adequate as soon as possible. * Details of the temporary arrangements and fire drill must be documented in the fire log book. * Reactive Cleaning, removal of combustible material * Nonessential portable electricals switched off/unplugged |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |