RISK ASSESSMENT FINDINGS

| Department/Service |  |
| --- | --- |
| Date |  |
| Assessor |  |
| Approved By |  |
| Review Date |  |

Relevant Legislation:

The Management of Health and Safety at Work Regulations 1999

RISK ASSESSMENT RECORD

ACTIVITY and/or ENVIRONMENT TO BE ASSESSED: Biology Laboratory

DATE:

| KEY (People at risk) | Likelihood (L) | Severity (S) | Risk Calculation | Risk Rating |
| --- | --- | --- | --- | --- |
| E = Employee YP = Young Persons P = Public C = Contractors V = Visitors EM = Expectant Mothers | 1. Very Low (rare/very unlikely) 2. Low (unlikely) 3. Medium (could occur/possible) 4. High (likely to occur/probable) 5. Very High (near certain to occur) | 1. Insignificant (nuisance/discomfort) 2. Minor (no lost time) 3. Moderate (time loss) 4. Significant (serious/incapacity to work) 5. Major (Death) | Likelihood x Severity = Rating | 1- 6 LOW RISK Monitor - MEDIUM RISK Monitor, review & reduce risk where possible 14-25 HIGH RISK Further Action Required |

| 1.Hazards Identified and potential harm it could cause | 2. People At Risk | 3.Controls in Place | 4.Risk Rating |  |  |  | 5. Further Action Required/ Recommendations | 6.Target Date for Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | L | S | Score | Risk |  |  |

| Glassware – cuts |  | - Controlled storage and allocation of glassware - Appropriate supervision - Breakages cleaned up promptly by staff member |  |  |  |  | : |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical equipment - electric shock |  | Portable appliance testing, visual inspection and fixed appliance testing |  |  |  |  |  |  |
| Gas Bunsen burners - burns, fire |  | - Appropriate supervision of pupils - Regular inspection of apparatus |  |  |  |  |  |  |
| Chemicals hazardous to health – illness, health issues |  | - Standard laboratory procedures in operation and communicated to all at risk - Fume cabinets receive thorough examination and test and periodic in-house checks - Pupils equipped with personal protective equipment as indicated by CLEAPSS assessments |  |  |  |  |  |  |
| Contact with animals and waste – bites, illness, infection |  | - Application of CLEAPSS science risk assessments and guidance for procedures /experiments - No unnecessary contact with animals, controlled and supervised handling only - Adequate hygiene arrangements - Cleaning procedures within laboratory |  |  |  |  |  |  |
| Micro-organisms - infection |  | - Standard laboratory procedures in place and communicated to all at risk - Fume cabinets receive thorough examination and test as well as periodic in house checks - Pupils equipped with appropriate personal protective equipment as indicated by CLEAPSS assessments |  |  |  |  |  |  |

ACKNOWLEDGEMENT OF RISK ASSESSMENT                                                                  Version:

PLEASE READ THE NOTICE BELOW BEFORE SIGNING THIS FORM

I acknowledge that I have read and understood the Risk Assessment/s associated with this task/event/equipment etc

| Forename | Surname | Employee Signature | Date | Manager’s Signature |
| --- | --- | --- | --- | --- |