RISK ASSESSMENT FINDINGS

| Department/Service |  |
| --- | --- |
| Date |  |
| Assessor |  |
| Approved By |  |
| Review Date |  |

Relevant Legislation:

The Management of Health and Safety at Work Regulations 1999

RISK ASSESSMENT RECORD

ACTIVITY and/or ENVIRONMENT TO BE ASSESSED: Contractors on site

DATE:

| KEY (People at risk) | Likelihood (L) | Severity (S) | Risk Calculation | Risk Rating |
| --- | --- | --- | --- | --- |
| E = Employee YP = Young Persons P = Public C = Contractors V = Visitors EM = Expectant Mothers | 1. Very Low (rare/very unlikely) 2. Low (unlikely) 3. Medium (could occur/possible) 4. High (likely to occur/probable) 5. Very High (near certain to occur) | 1. Insignificant (nuisance/discomfort) 2. Minor (no lost time) 3. Moderate (time loss) 4. Significant (serious/incapacity to work) 5. Major (Death) | Likelihood x Severity = Rating | 1- 6 LOW RISK Monitor - MEDIUM RISK Monitor, review & reduce risk where possible 14-25 HIGH RISK Further Action Required |

| 1.Hazards Identified and potential harm it could cause | 2. People At Risk | 3.Controls in Place | 4.Risk Rating |  |  |  | 5. Further Action Required/ Recommendations | 6.Target Date for Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | L | S | Score | Risk |  |  |

| Hazardous substances – ill health |  | - Contractors to inform Head teacher of any hazardous substances brought onto site - Contractors to ensure dust production is minimised - Contractor to follow RMBC management of Asbestos arrangements - Hazardous substances to be safely stored |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Falling objects – injury |  | - Work area to be agreed contractor and Head teacher - Area below work to be securely fenced off with warning signs displayed - Working platforms to be fitted with boards / panels to prevent falling objects |  |  |  |  |  |  |
| Trailing cables – trips, falls |  | - Avoid wherever possible - Cable covers to be used |  |  |  |  |  |  |
| Electrical equipment and sockets – electrocution |  | - Electrical tools to be subject Portable appliance - testing - Visual inspections - Fixed appliance testing |  |  |  |  |  |  |
| Contact with children – child protection issues |  | - Where possible work to be carried out, outside school hours - Agreed programme of work - Work areas to be fenced off to prevent children being in close proximity with contractors and to prevent injury on site - Adequate supervision of pupils - Contractors who are not DBS checked must either be accompanied at all times by a DBS checked member of staff or work outside of school session times on site where they cannot be isolated from contact with pupils or work within a restricted compound to conduct their work in segregation from pupils. |  |  |  |  |  |  |
| Stored materials – injury, fire |  | - Materials stored on site to be kept to a minimum - Storage only in agreed designated secure compound |  |  |  |  |  |  |
| Waste material – health risks, fire |  | - Frequent removal of waste from site to keep to a minimum by a registered waste carrier. - Waste stored on site to be kept in suitable containers according to the type of waste and in a secure compound |  |  |  |  |  |  |

ACKNOWLEDGEMENT OF RISK ASSESSMENT                                                                  Version:

PLEASE READ THE NOTICE BELOW BEFORE SIGNING THIS FORM

I acknowledge that I have read and understood the Risk Assessment/s associated with this task/event/equipment etc

| Forename | Surname | Employee Signature | Date | Manager’s Signature |
| --- | --- | --- | --- | --- |