RISK ASSESSMENT FINDINGS

| Department/Service |  |
| --- | --- |
| Date |  |
| Assessor |  |
| Approved By |  |
| Review Date |  |

Relevant Legislation:

The Management of Health and Safety at Work Regulations 1999

RISK ASSESSMENT RECORD

ACTIVITY and/or ENVIRONMENT TO BE ASSESSED: Dining Hall

DATE:

| KEY (People at risk) | Likelihood (L) | Severity (S) | Risk Calculation | Risk Rating |
| --- | --- | --- | --- | --- |
| E = Employee YP = Young Persons P = Public C = Contractors V = Visitors EM = Expectant Mothers | 1. Very Low (rare/very unlikely) 2. Low (unlikely) 3. Medium (could occur/possible) 4. High (likely to occur/probable) 5. Very High (near certain to occur) | 1. Insignificant (nuisance/discomfort) 2. Minor (no lost time) 3. Moderate (time loss) 4. Significant (serious/incapacity to work) 5. Major (Death) | Likelihood x Severity = Rating | 1- 6 LOW RISK Monitor - MEDIUM RISK Monitor, review & reduce risk where possible 14-25 HIGH RISK Further Action Required |

| 1.Hazards Identified and potential harm it could cause | 2. People At Risk | 3.Controls in Place | 4.Risk Rating |  |  |  | 5. Further Action Required/ Recommendations | 6.Target Date for Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | L | S | Score | Risk |  |  |

| Defective flooring – slips, trips, falls |  | - Inspection of flooring - Prompt maintenance of defects |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Spillage of food/liquids – slips /falls |  | - Regular cleaning of floors - Prompt cleaning of spillages |  |  |  |  |  |  |
| Obstacles - causing trips & falls |  | - Walkways to be kept clear of bags etc. - Adequate space allowed between tables for access - Adequate levels of supervision |  |  |  |  |  |  |
| Defective furniture – causing injury |  | - Regular inspection routine with prompt remedial action - Reporting procedure for defects |  |  |  |  |  |  |
| Hot food / drinks – causing burns / scalds |  | - Appropriately trained staff - Trays provided - Adequate levels of supervision |  |  |  |  |  |  |
| Electrical equipment and sockets – electrocution |  | - Portable appliance testing and regular visual inspection - Fixed installation testing |  |  |  |  |  |  |
| Broken glass - cuts |  | - Reusable plastic items preferred - Breakages cleared up promptly - Damaged items discarded safely |  |  |  |  |  |  |

ACKNOWLEDGEMENT OF RISK ASSESSMENT                                                                  Version:

PLEASE READ THE NOTICE BELOW BEFORE SIGNING THIS FORM

I acknowledge that I have read and understood the Risk Assessment/s associated with this task/event/equipment etc

| Forename | Surname | Employee Signature | Date | Manager’s Signature |
| --- | --- | --- | --- | --- |