RISK ASSESSMENT FINDINGS

| Department/Service |  |
| --- | --- |
| Date |  |
| Assessor |  |
| Approved By |  |
| Review Date |  |

Relevant Legislation:

The Management of Health and Safety at Work Regulations 1999

RISK ASSESSMENT RECORD

ACTIVITY and/or ENVIRONMENT TO BE ASSESSED: Oxygen therapy and suction equipment in school

DATE:

| KEY (People at risk) | Likelihood (L) | Severity (S) | Risk Calculation | Risk Rating |
| --- | --- | --- | --- | --- |
| E = Employee YP = Young Persons P = Public C = Contractors V = Visitors EM = Expectant Mothers | 1. Very Low (rare/very unlikely) 2. Low (unlikely) 3. Medium (could occur/possible) 4. High (likely to occur/probable) 5. Very High (near certain to occur) | 1. Insignificant (nuisance/discomfort) 2. Minor (no lost time) 3. Moderate (time loss) 4. Significant (serious/incapacity to work) 5. Major (Death) | Likelihood x Severity = Rating | 1- 6 LOW RISK Monitor - MEDIUM RISK Monitor, review & reduce risk where possible 14-25 HIGH RISK Further Action Required |

| 1.Hazards Identified and potential harm it could cause | 2. People At Risk | 3.Controls in Place | 4.Risk Rating |  |  |  | 5. Further Action Required/ Recommendations | 6.Target Date for Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | L | S | Score | Risk |  |  |

| Manual handling injury lifting / carrying equipment. |  | - Ensure staff are adequately trained in manual handling. - Ensure appropriate equipment is provided and used. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Incorrect use of equipment causing harm or injury |  | - Ensure responsible appointed staff are appropriately trained, supervised, instructed and provided with adequate information to enable them to conduct oxygen supervision procedures competently. - Ensure care plan is drafted and regularly reviewed |  |  |  |  | Training provided by: Date of training: Date of review / re training etc.: |  |
| Safe storage, use, handling and transport on site. |  | - Ensure spare cylinders etc. are stored appropriately and secure e.g. locked container / adequate ventilation etc. - Ensure staff are adequately trained in first aid etc. - Ensure Building manager is informed (fire safety). - Ensure the positioning of equipment does not cause a trip hazard e.g. in classroom etc. |  |  |  |  |  |  |
| Staff anxiety using equipment. |  | Ensure training and competence is kept up to date. |  |  |  |  |  |  |
| Transport of pupil from home – school – home. |  | Transport plan should be completed to ensure safe transport of pupil and equipment. |  |  |  |  |  |  |
| Evacuation of pupil in an emergency |  | Ensure that a Personal Emergency Evacuation Plan (PEEP) is completed and kept up to date for the pupil. |  |  |  |  |  |  |

ACKNOWLEDGEMENT OF RISK ASSESSMENT                                                                  Version:

PLEASE READ THE NOTICE BELOW BEFORE SIGNING THIS FORM

I acknowledge that I have read and understood the Risk Assessment/s associated with this task/event/equipment etc

| Forename | Surname | Employee Signature | Date | Manager’s Signature |
| --- | --- | --- | --- | --- |